## Slide 1: Examples of Sustainable Remote Construction “Outside the Box”
Unique Circumstances: Unique Creativity
Dr. Paul V. Perreault, P.E. pvpengineer@ak.net
Moolin Seminar October 2016
Newtok
Notes: 2 Student Research Work
Studying the Thermal Regime below Buildings with frost protected shallow foundations.
(if y d p, y wnt b w a d.)
Frost protected shallow foundations are a way to protect building foundations from seasonal freezing action.
You’ll see in the following slides that what happens is that the heat from the building is confined below the building –
enough that the freezing isotherm does not extend below the footing.
This is an alternative construction method for foundations – usually where there is no permafrost below the footing.

## Slide 2: 35 Yrs. 50 Villages
Northern 2/3 Alaska
Notes: Specifics vary, each site
Why 3 Why do this at all? Why do it this way? Why do it now?
Answer the question… So what? // why bother?
READ poem. THE BRIDGE BUILDER An old man, going a lone highway, Came at the evening, cold and gray, To chasm, vast and deep and wide, Through which was flowing a sullen tide. The old man crossed in the twilight dim; The sullen stream had no fears for him; But he turned when safe on the other side And built a bridge to span the tide. "Old man," said a fellow pilgrim near, "You are wasting strength with building here; Your journey will end with the ending day; You never again must pass this way; You have crossed the chasm, deep and wide -- Why build you the bridge at the eventide?" The builder lifted his old gray head: "Good friend, in the path I have come," he said, "There followeth after me today A youth whose feet must pass this way. This chasm that has been naught to me To that fair-haired youth may a pit-fall be, He, too, must cross in the twilight dim; Good friend, I am building the bridge for him." Will Allen Dromgoole
http://www.massageprofessionals.com/group/positiveattitudes/forum/topics/philosophies-that-keep-you

## Slide 3: Sustainable Considerations
Northern 2/3Alaska
Notes: Specifics vary, each site
Why 3 Why do this at all? Why do it this way? Why do it now?
Answer the question… So what? // why bother?
READ poem. THE BRIDGE BUILDER An old man, going a lone highway, Came at the evening, cold and gray, To chasm, vast and deep and wide, Through which was flowing a sullen tide. The old man crossed in the twilight dim; The sullen stream had no fears for him; But he turned when safe on the other side And built a bridge to span the tide. "Old man," said a fellow pilgrim near, "You are wasting strength with building here; Your journey will end with the ending day; You never again must pass this way; You have crossed the chasm, deep and wide -- Why build you the bridge at the eventide?" The builder lifted his old gray head: "Good friend, in the path I have come," he said, "There followeth after me today A youth whose feet must pass this way. This chasm that has been naught to me To that fair-haired youth may a pit-fall be, He, too, must cross in the twilight dim; Good friend, I am building the bridge for him." Will Allen Dromgoole
http://www.massageprofessionals.com/group/positiveattitudes/forum/topics/philosophies-that-keep-you

## Slide 4: Project Support - Project Itself - O&M, End of Life
https://www.dot.ny.gov/programs/greenlites/repository/overarching.jpg
Notes: not in isolation.

## Slide 5
ANIAK: by Design w/Chuathbaluk Materials
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Notes: Show on Google Earth?

## Slide 6
ANIAK: by Design w/Chuathbaluk Materials
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Notes: Show on Google Earth?

## Slide 7
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
ANIAK – Design w/Chuathbaluk Materials
Notes: Show on Google Earth?

## Slide 8
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
By Design: AKIUK MEMORIAL SCHOOL LOWER KASIGLUK
Notes: Show on Google Earth?

## Slide 9: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
SITE DEVELOPMENT, LAY DOWN EXAMPLES
> 90% Local Labor
By Design: FORTUNA LEDGE (MARSHALL)
Durability ~ Understand & Provide Redundancy Use Multiple Spans; Avoiding Simple Spans Recall Bulking Factors, Consolidation, Erosion
Notes: maintenance considerations?

## Slide 10
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
By Design: STEBBINS, St. MICHAEL
On Surface. Move? Adjustable?
Notes: Show on Google Earth?

## Slide 11: Sustainable Materials
Human Ecology
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
SCAMMON BAY: Cultural Support – R.E.A.L takes time.
Site Planning, Floor Plans, Roof Plans
R.E.A.L: Takes time
Notes: Show on Google Earth?

## Slide 12: Sustainable Materials
Aniak -- Chuathbaluk
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
SCAMMON BAY:
Integrated Project Delivery – Takes partnering.
Local labor. Owner provided materials.
~ 90% in 2011
Notes: Show on Google Earth?

## Slide 13: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
PILOT STATION, STEBBINS, ST. MICHAEL, ++
> 90% Local Labor
> 90% Local Labor
Key Leads. OJT. Job checking!
Notes: maintenance considerations?

## Slide 14: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
SITE DEVELOPMENT, LAY DOWN EXAMPLES
> 90% Local Labor
Demolition = Repurposing (not trash)
Hooper Bay
St. Michael
Notes: maintenance considerations?

## Slide 15: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
SITE DEVELOPMENT, LAY DOWN EXAMPLES
> 90% Local Labor
Operator Training & Redundant Labor
St. Michael
Notes: maintenance considerations?

## Slide 16: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
SITE DEVELOPMENT, LAY DOWN EXAMPLES
> 90% Local Labor
Local Wisdom/Talent
Respect, Trust, Verify
MENTORING
TVEP
RSS
ANSEP, ++
Notes: maintenance considerations?

## Slide 17: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Transportation = Lifeline Protection
> 90% Local Labor
Scammon Bay
Newtok
Notes: maintenance considerations?

## Slide 18: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Transportation = Lifeline Protection
> 90% Local Labor
Chevak
Notes: maintenance considerations?

## Slide 19: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Climate Projections
> 90% Local Labor
Chevak
Notes: maintenance considerations?

## Slide 20: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Climate Projections
> 90% Local Labor
Frozen
Sites
ThawedSites
Institute of Northern Engineering, UAF, 2008. Used by permission.
Notes: maintenance considerations?

## Slide 21: Sustainable?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Climate Projections
> 90% Local Labor
Frozen
Sites
Bethel Hospital
Notes: maintenance considerations?

## Slide 22: Sustainable Methods?
A. Seasonal Insulation
  active layer
  frost heave
  COOLS the PF
B. Permanent insulation…
  active layer
  frost heave
  WARMS the PF
C. Alternative – Shallow Footing on PF (Chevak)
Royek, 1988. Ametek Lit.
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Climate Projections

## Slide 23: WARM FOOTINGS - CRREL Example
http://www.crrel.usace.army.mil/cerd/build-and-util/foundations.html
4” XPS
6 Ft. Out
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Climate Projections

## Slide 24: Sustainable Methods?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Climate Projections
Recall: Goldratt, E. (1992). “THE GOAL.” And – How do we cut $1 million from a project? Okay, so – What About Little things? or Larger?

## Slide 25: Partnering JV, interstate, Network, AZ
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Hmm. What About… Solar Electric?
https://inventively.com/search/trademarks/87120143
Net Metering? Avoided Cost?
Public Policy ~ Economics  Selection Process
Ruby – Yes
Scammon – No
Notes: maintenance considerations?

## Slide 26: Partnering JV, interstate, Network, AZ
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Yes Goldratt, E. (1992). “The GOAL.” And - What About…
https://inventively.com/search/trademarks/87120143
Notes: maintenance considerations?

## Slide 27
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Hmm. What About… Geothermal Water? Scale?
http://www.vici-labs.com/outcomes---examples.html
Notes: maintenance considerations?

## Slide 28: Small. Light. One person remote Visits? Surveying?
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Hmm. What About… Portable Pure Water
http://newatlas.com/roving-blue-ozone-pen/45969/
Notes: maintenance considerations?

## Slide 29
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Hmm. What About… Biomass Heat/Power
Where? (In town?)
Where Not?
(Remote?)
CEO: Jarno Haapakoski. ACEP UAF Presentation Sep 20, 2016
http://www.biomassinnovation.ca/pdf/Tour_Nov14/Additional/E_Volter%20presentation%20EN.pdf
VÖLTER
Notes: maintenance considerations?

## Slide 30
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Hmm. What About… Really Simple…
http://amazyble.com/green-tech/beer-company-develops- edible-six-pack-rings-feed-rather-kill-marine-life/
Notes: maintenance considerations?

## Slide 31
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Step by Step. Keep it Simple
Where? (In town?)
Where Not?
(Remote?)
Notes: maintenance considerations?

## Slide 32
Sustainability is Overarching Project Support / Project Itself / O&M, End of Life
Seems Like The River Has Moved.
Notes: maintenance considerations?

## Slide 33
http://www.wunderground.com/US/AK/Fairbanks.html
A Life Long Learning Presentation by Dr. Paul V. Perreault, P.E.
Thank You for Coming.
Notes: 74 Thanks!
Funding by:
CCHRC
EPSCoR
PTF